Answer Keys to Student Workbook Questions, 4TH Ed. Radiography in the Digital Age

# Chapter 1

1.

  - Parismony

  - Reproducibility

  - Falsifiability

  - Observation

  - Measurability

- 2. Self-correcting

- 3. Quantifiable; measurable

- 4. Common sense; judgment; consistency; knowledge

- 5. Cathode; Crookes

- 6. (November) 8th, 1895; Wurzburg

- 7. Radioactivity; alpha; beta; gamma

- 8. Thomas Edison

- 9. Image intensifier

- 10.	Filters; Collimating (field restricting) devices

- 11. Wm. Coolidge

- 12. Michael Pupin

- 13.	Fluoroscopy

- 14. Picture archiving and communication system

- 15. CR (computed radiography)

- 16. Post-processing

- 17. 1) Particles, 2) waves in media, 3) electromagnetic waves

- 18. One of the following: Alpha particles, beta particles, neutrons, protons, electrons

- 19. One of the following: Sound, sonar, water waves or waves in any other physical substance

- 20. One of the following: Radio waves, radar, microwaves, infrared light, visible light, laser,

- ultraviolet light, gamma rays, cosmic rays

- 21. Ionizing

- 22. One-half

- 23. As Low As Reasonably Achievable

Chapter 2

- 1) Time; the second; 2) length; the meter; 3) mass; the gram (or kilogram)

- Constant

- Speed: length divided by time (or, density; mass divided by volume [length])

- 1) Gravity, 2) weak nuclear force, 3) electromagnetism, 4) strong nuclear force

- Meter

- Centimeter

- Millimeter

- 1) 0.394 inches; 2) 39.3 inches; 3) 0.62 miles

- 2.2 pounds

- Angstrom, Å

- 10-10 m; “(one ten-) billionth (of a meter)”

- Nano-; pico-

- Work

- Joule

- Conserved

- Rest

- Transducer

- Potential; electromagnetic

- Photon (quantum)

- Definite; definite

- Indefinite; definite

- Indefinite, indefinite

- Compressed

- Condensation

- Fluid

- Resins

- Internal

- Temperature

- Potential

- Kinetic; potential

- 1) Conduction [contact], 2) convection, 3) radation

- Electromagnetic radiation

- Absolute zero

Chapter 3

- Doubles

- Large

- Much

- Direction; triple (increase by 3X)

- 1) 0.6

2) 61.25%

3) 0.182

6.    Hundredths

7.    -14.44

8. 	1) b/a

2) b-a

3) ba/c

4) xa + xb

- 1) Add; 107

2) Subtract; 104 ; Adding; 107

- Negative

- “X 100 ”

- Two

- “Times” (X)

- Subtract

- 2 X 1011

- Bottom; 7.32 m

- 3,000,000,000 millivolts (3 X 109 or 3 billion)

- Calculations

- 1) 4:1, 2) 8:1

- Faster (more dramatically)

- Surface

- Areas

- (DN )2

((DO )2

- Set-up:  25 mGy  =  1502

X            1002

Solution:  11.11 mGy

- Best-fit

- See textbook

- See textbook

- See textbook

- Area

- 1/3: left

- Bar

- Best-fit

- Pixels

- White to black (light to dark)

- 3

- Body part

Chapter 4

- Shape; space

- Weighed

- Element

- Atom

- Compound

- Mixture

- Molecule

- Element

- Mixture

- Compound

- Element

- Six; Three

- Atomic; Z

- Volume (of space)

- Energy

- Space

- Repulsion

- 2000

- Atomic mass units

- Chemical properties

- Proton; electron

- Beta

- 2N2

- 8; octet

- Principle quantum

- Outermost

- Inert

- Shell; row (period)

- Octet

- Maximum

- Shells

- 2; 2

- Defect

- Covalent

- Share

- Covalent

- Ion

- Positive

- Force

- Short; long

- Ionization

- Energy

- Pair

- Disease

- Collisions

- Nucleons

- Increases

- Mass

- Isotopes

- Protons

- This should be a capital “H” with a superscript “1” and a subscript “3”

- N

- Fission; fusion

- Ground

- Unstable (radioactive)

- Radioactivity (radiation)

- Radioisotope

- Range

- Range

- Decay

- Transmutation

- Alpha

- 2; 4

- Beta

- Increases; Remains unchanged

- Lighter (smaller)

- Gamma

- Remains unchanged; remains unchanged

- Isomer

Chapter 5

- Disturbance

- Transverse

- Horizontal; compressional

- 1) Amplitude, 2) wavelength, 3) frequency, 4) speed

- Amplitude

- Strong

- Wavelength

- Cycle

- Pulses

- Frequency

- Hertz

- V = fλ

- Directly proportional

- Directly proportional

- Inversely proportional

- See textbook

- Frequency; wavelength

- Speed; wavelength

- Speed; frequency

- 1) 10 m/sec; 2A) 0.1 waves per second; 2B) 10 seconds

- 3 X 108 (m/s); 186,000 (mi/sec); “c”

- c = fλ; f = c/λ; λ = c/f

- Seconds (units)

- Scientific notation

- 1) 6 X 1014 Hertz (600 trillion Hz);  2) 65.2 X 10-8 meters (652 billionths of a meter)

- E  =  hf

- Directly proportional

- Double

- Inversely proportional

- 12.4

- Minimum (shortest)

- 0.144 Angstroms

- Moving

- Perpendicular

- Spin

- Wave (disturbance)

- Electrons

- Perpendicular

- Spectrum

- Resonance

- Natural frequency

- Absorbed (attenutated)

- 2; 3

- Atom

- Pin

- Centimeter

- Amplitude modulated; frequency modulated

- AM; FM

- Detection; ranging

- Synchronize

- Less than (lower than)

- (Skin) cancer

- X-rays

- Gamma rays

- Radio

- Precess

- Resonate

- Spiral

- Locations; tissue

- 20,000

- Compressional

- 340; 1000

- Reflection; refraction

- Interface

- Distance (depth)

- Amplitude (strength)

- Inverse square

- Gas

- Light; radiation

- Phase

- Light

- 1) Medium; 2) pumping, 3) resonant

- Laser

- Electronic

- Films

- Photomultiplier

- Mirrors

- Heat

- Reflective

- Low

- Intact; diffused

- Reflected

- Focused

- Reflection; incidence

- Dispersion; diffusion; scattering

- Attenuation

- Differential absorption

- Radiopaque

- Radiolucent

- Negative

- Lighter; darker

- Light

- Photoelectric

- Particle

- Interference

- Waves

- Interfere

- Wave

- Observe

- Particle-waves

- Fields

- Waves

- Particles

- Mass (weight)

- Wave; particle

- Particle; wave

- Quantum (photon)

Chapter 6

- Magnetic fields

- Motors; generators

- Magnetic moment

- Up; down

- Magnetic dipole

- Magnetic domains

- Ferromagnetic

- Natural

- Permeability

- Retentivity

- Permanent; artificial

- Paramagnetic

- Diamagnetic

- Dipolar; bipolar

- Electromagnet

- Iron core

- Elephant ears

- Outward; into

- Poles

- Perpendicular

- South

- Gauss’

- F  =  k P1_P2

D2

- Gauss; tesla

- 10,000

- 1) 1000 G; 2) [½ to] 1 G; 3) 1-1.5 T

- 1) 1000 G; 111 G

- Rest

- Electrified

- Reservoir

- Coulomb; (6) billion billion  [1018]

- Deficient

- Negative

- Surface

- Curvature

- Product

- F  =  k Q1_Q2

D2

- 1) Friction; 2) conduction [contact]; 3) induction

- 1) Insulating; dielectric; 2) ground; 3) humidity

- Potential difference

- Relatively more

- Electromotive force; EMF

- Lowest possible

- Any difference

- 1) -7; 2) -6; 3) +6

- Induction

- Polarized

- Separate (repel)

- Ionize

- Pocket dosimeter

Chapter 7

- Surface

- Moving

- Leap-frogging (hopping)

- Conductors

- Dielectrics; insulators

- Semiconductor

- Rate

- Ampere; A or I; Amp

- Coulomb; ampere

- 0.6 milliamps

- mAs

- 1) 504 X 1015 electrons; 2) 80 mC (0.08 C)

- Circle (circuit)

- Pumps

- Breaking

- 1) A conductor, 2) a source of EMF, 3) a resistor (resistive device)

- 1) Longer length, 2) Narrower diameter, 3) Poor material or construction

- Row

- Parallel

- Ohm

- Volt

- V  =  IR

- Proportional; greater

- Proportional; push

- Inversely proportional

- See textbook

- 1) V  =  IR; 2) I  =  V/R; 3) R  =  V/I

- 1) 112 V; 2) 8 amps; 3) 40 ohms

- Rate

- Energy

- Quality

- Watt

- See textbook

- 1) P  =  IV; 2) I  =  P/V; 3) V  =  P/I

- 0.25 amps (1/4 amp)

- P  =  I2R

- 275 ohms

- Direct; alternating

- Oscillate

- Light

- Effect

- See textbook

- Below

- Pulses

- 1/120th second

- Reverses

- See textbook

- Changing

- Rectifier

- Pulsed

- Generators; motors

- Stator; rotor

- Induction

- Bloom (swell)

- Magnetic field

- Opposite

- Repel

- Growing; collapsing

- Stop

- AC

- Transformer

- Double

- NS /NP  =  VS /VP

- 6000 V; 50:1

- Down

- Inversely

- 20 mA

- Step-up; step-down

- Step-down

- Autotransformer

- Self-

- Taps

- Autotransformer

- Down

- Amperage

Chapter 8

- 1) Control console circuit; 2) High-voltage section; 3) X-ray tube filament circuit

- Breaker

- Line-voltage compensator

- kVp

- 500:1; 1000:1

- Amplitude (height)

- 4

- N; P

- Potential

- Polarizes

- Rectification

- Thermionic emission

- Amperage

- Rotor

- Heat

- Wear; tear

- 1:44

- Rectify

- Resistor

- Amperage

- Compares

- Pre-reading

- Across

- Fraction

- High-voltage transformer; x-ray tube (or rectifier bridge)

- See textbook

- Self-

- Block

- Doubled

- 1/3

- Zero

- Ripple

- 91%

- Penetration

- Increased

- ½

- 4%

- 500; 25,000

- Equal

- Short

- Kilowatts (kW)

- 1) kW  =  mA X kVp/1000; 2) kW  =  0.7 X mA X kVp/1000

- 1/60th (second)

- Electronic

- 1 (ms)

- mAs

- Phototimer

- Ion chamber

- Thyratron

- Electromagnet

- Count

- Rate

- Density (Intensity)

- Exposure time

- Front; behind

Chapter 9

- 1) Source; 2) accelerating, 3) decelerating

- Space; Cloud

- Constant

- Light

- Atomic number

- Energy

- 0.5%

- Filaments

- Focusing cup

- 1/20th

- 1) 0.5 to 0.6; 2) 1.0 to 1.2

- Switch

- Thorium-; 3400 degrees C

- Tube

- Molybdenum; copper

- Ball bearings

- Tungsten-rhenium

- Electron

- Positive; Slows down (decelerates)

- White-hot

- 1000

- 3400; 10,000

- Stator

- Sequence

- Reverse

- Higher

- Small

- Nominal

- Blooming

- H

- Vacuum

- Window

- Arc

- Warping; etching; pitting

- Resolution (sharpness)

- Hotter

- Thermal

- Three; 5; 70

- mA; kVp

- Supervisors (management)

Chapter 10

- Higher

- Square

- One-half

- Slow down (decelerate)

- Bremsstrahlung; majority

- Heterogeneous; (poly-)energetic

- Differential;  subject

- Create (restore)

- Higher

- Farther

- Low; high

- Filtration

- Bell

- Area

- Orbital (shell)

- Ground

- Orbital (shell)

- Potential

- Binding

- 57; 66; 68; 69

- Excitation

- Atomic number

- Energy

- Penetration

- Directly

- See textbook

- Increases; decreases

- See textbook

- Increases; increases

- Bremsstrahlung

- 0.5%; 1%

- 40%; 100%

- Patient

- Surge (peak)

- Quantity (amount)

- Right

- See textbook

Chapter 11

- Signal

- Remnant

- Isotropically

- Distorted

- SID; SOD; OID

  - Technical;  See textbook for examples

  - Geometrical;  See textbook for examples

  - Patient status;  See textbook for examples

  - Image receptor systems;  See textbook for examples

  - Image processing;  See textbook for examples

  - Viewing conditions;  See textbook for examples

- Technique; patient

- Inner

- Photoelectron

- Contrast

- Slightly

- Average

- EP  =  EB  +  EKE

- 26 ( kV)

- Compton

- Modified; incoherent

- New

- EP   =  ES  +  EB  +  EKE

- 34.5 (kV)

- Energy

- Most

- Series

- Forward

- Backscatter

- Backscattered

- Toward

- Opposition

- 97%

- Coherent scattering (Thompson)

- Unmodified

- Rayleigh

- Ionizing

- Energy (penetration)

- Attenuation

- 50(%)

- 2

- 15(%)

- Differential

- Subject

- Remnant beam

- Penetration

- Gray

- Atomic

- Photoelectric

Chapter 12

- Attenuate

- Percentage (ratio)

- Ratio

- 1) (Tissue) thickness; 2) (tissue) density; 3) (tissue) atomic number

- Increase; decrease

- Concentration

- Directly

- Extreme (large, dramatic)

- 1) Soft tissue; 2) fat; 3) gas [air]

- Atomic number

- Density

- Iodine; barium

- 7.4

- Cube

- 20

- Density

- Evenly

- Subject

- Lengthening

- Cube

- Slightly

- Compton interactions

- Percentage (ratio)

- Cube (exponential)

- Optimum

- Photoelectric

- Low; high

- Penetration

- Binding

- The same (equal)

- Nucleus

- Slightly

- Minor

- Extreme (dramatic, large)

Chapter 13

- Digital (or electronic)

- Located

- Grid

- Projected

- Latent

- Technique

- Dark; light

- Displayed

- Projected

- Displayed

- Contrast

- Intermediate (optimum)

- Details

- Optimum

- Noise

- Visibility

- Displayed

- Gray

- Penetrate

- Density

- Negative

- Contrast

- Contrast

- (Anatomical) structures

- Range (number)

- Intermediate

- Much

- Gray scale; contrast; brightness

- Visibility

- Mottle (quantum mottle, or noise)

- Insufficient (inadequate)

- Noise

- Quantum mottle

Material mottle

Scatter radiation

Off-focus radiation

Aliasing artifacts

Electronic noise

Algorithmic (computer) noise

Exposure artifacts

- Signal; Noise

- Noise; Increase (boost)

- Artifacts

Chapter 14

- Recognizability

- Abruptness (suddenness)

- Penumbra

- Angles

- Umbra

- Penumbra

- Measured

- Penumbra

- Separate

- Motion

- Size

- Magnification

- Pathological (disease)

- Small

- (Shape) distortion

- Elongation; foreshortening

- Sharpness

- Relative

- Unsharpness

- 1) Focal spot size; 2) OID; 3) SOD

- Penumbra

- Similar

- U  =  FS X OID/SOD

- 0.75 mm

- SOD/OID

- Relative sharpness will be increased by 4 times (72/18)

- Contrast

- Destructive

- Visibility

- Motion

- Length; width

- Umbra

- Shrink (reduce)

- Middle

- SID/SOD

- Similar

- 100

- 1) 53.3 cm; 2) 50 cm; 3) 11%

- Shape

- Foreshortening

- Different

- Ratio

- Lesser

- Resolution

- Contrast; sharpness

- Resolution

Chapter 15

- Rate

- mA

- Rotor

- Thermionic emission

- Space; cloud

- X-ray

- s

- mA; s (time)

- Total

- Control

- High (tall)

- Inversely

- mAn X sn

- 1) 50 mA; 2) 2.4 s

- Right; left

- Random

- Uneven

- Quantum mottle

- Signal

- Insufficient (low, inadequate)

- Slight

- Mottle

- Apparent (visible)

- Indicator (index)

- mAs

- Geometrical

- Motion;  motion

- Contributing

- Sharper

Chapter 16

- Pressure (force)

- Autotransformer

- Quality

- Peak

- Penetration

- Average

- Energetic (penetrating)

- Quality

- Partial

- Gray scale

- Penetration

- Predominant

- Intensity (quantity)

- kVp

- Independent

- Square (second)

- 15(%)

- 2

- 4 to 5 mAs

- Each

- Half

- 86

- Above

- Patient exposure; scatter

- kVp

- Thick (big)

- Minor

- 15(%)

- 67(%)

- Contrast

- Removed (eliminated)

- Geometric

Chapter 17

- Half

- Twice

- Overlap

- Increased

- Penetration

- Twice

- Slightly

- Cut (reduced); one-half

- Motion

- Negligible

- Unrelated

- Contributor

- Constant potential

- AC (alternating current)

- Equal

- 8

- Patient exposure

- All

- Inherent; added

- Beryllium; mirror

- Anode heel

- 2.5

- Removed

- Hardening

- Reduces

- HVL (half-value layer)

- Intensity

- 1) kVp; 2) generator power; 3) Filtration

- Generator

- Filtration

- Too much

- Protective

- Compensating

- Algorithms

Chapter 18

- 1) Reduce patient exposure; 2) preserver subject contrast

- 100-

- Two

- Off-focus

- Focal spot

- Primary

- Ghost

- Positive beam limitation

- Smaller

- 1 cm (1/2”)

- 1 cm (1/2”)

- 1) Patient size (thickness); 2) Field size

- Angles

- Primary

- Compton; Compton

- Reduced

- Anatomical structure (anatomy)

- Visibility

- Similar triangles

- SID; SOD

- SID

- SID/SOD

- SOD/FA

- 24 cm; 90cm

Chapter 19

- Thickest 1/3

- Lift

- High

- 22; 8; 30; 12

- 2

- 15%

- Half-way

- 35(%)

- 5(%)

- 1) Sthenic; 2) hyposthenic; 3) asthenic; 4) hypersthenic; 5) large muscular

- 35-50(%)

- kVp

- Races

- 1) Gas; 2) fat, 3) fluids; 4) bone; 5) metals

- Gases; fat

- Bone

- Radiopaque

- Gases

- Density

- Atomic number

- Through

- Penetrate

- High-

- Technique

- 35(%)

- Verbal (oral) history

- 35(%); 100(%)

- 50(%)

- 35(%)

- 35(%); 50(%)

- Fluids

- 20(%)

- Doubling; 12-15(%)

- 50(%)

Chapter 20

- Evenly

- Adds (contributes)

- Underexposed (light)

- Gray scale

- 1) High kVp; 2) large field sizes; 3) large body part thicknesses

- Percentage (ratio)

- Minor

- 1)Penetration; 2) Reduce [save]; 3) Gray scale

- Tissue

- Exposed

- Collimation

- Grids

- Penumbra

- Random

- Visibility

- Gustav Bucky

- Lead

- Grid lines

- Potter-

- Interspaces (spaces)

- Angle

- Grid ratio

- 6:1

- Frequency

- Grid ratio

- Signal (remnant beam)

- Excessive

- Grid line (noise)

- Fogged

- Virtual

- 1) Lower grid ratios can be used; 2) More anatomy can be done non-grid

- Flexibility

- Thickness; Size

- 8:1; 12:1

- 13

- Body parts (anatomy)

- Field sizes

- Minor

- Extreme (excessive)

- Grid

- Validly

- Contrast improvement factor

- Bucky

- Selectivity

- Primary

- Decrease (reduce)

- 4

- ¼

- Geometrical (recognizability)

- Alignment; distance

- Eliminated

- Cut-off

- Focused

- Radius

- Symmetrical; both

- Close

- Obliterate

- Across

- Parallel (along)

- Selective

Chapter 21

- Electrons; bevel

- Sharpness

- Actual focal spot

- Heat

- Sharpness

- 15-17 (degrees)

- 0.5; 0.6; 1.0; 1.2

- Cathode

- Anode; cathode

- Effective

- Pixel

- Greater (longer)

- Thinnest

- Left

- More

- Larger (longer)

- Thickest

- Sharpness

- Sharper

- Inversely

- Inward

- Disappearing

- Transition

- Geometrical penumbra

- Doubles

- Middle

- Umbra

- Unrelated

- X-ray tube anode

- Same

- Electrical

- Controlling

Chapter 22

- 1) Sharpness; 2) magnification; 3) exposure

- Prime

- Focal spot

- 180 cm (72”)

- Longest (greatest)

- Patient dose (patient exposure)

- 3(%)

- 244 cm (96”)

- Sharper

- Penumbra (blur)

- Source-object (SOD)

- Reduces (decreases)

- Longest

- More

- No

- Inverse square

- Inversely; square

- Quantum mottle

- Exposure

- 15%

- EO / EN  =   (DN )2 / (DO )2

- 1) 1/9th or 11.1%; 2) 22.2 mGy

- mAs

- mAsO / mAsN  =   (DO )2 / (DN )2

- 1) 16.2 mAs; 2) 133 mA

- TO / TN  =   (DO )2 / (DN )2

- 0.18 seconds (0.2)

- 1/X  =  (DO )2 / (DN )2

- 1.44 (1.5) times

- One

- One-half

- 1.5 X (50% increase)

- 3

- 1/3

- Skin entrance; compensating

- SSD (source-skin distance)

- Proportion (percentage, or ratio)

- Less [NOTE: blank not inserted in this question]

- Reduction

- Maximum (longest, or greatest)

- 10-15 (%)

- Not

Chapter 23

- (Shape) distortion

- Positive

- Spread out

- Unchanged (the same)

- Primary; scatter

- Reduction

- ¼

- mAs

- Less

- Spread out

- Greater

- Umbra

- Magnification; macro-

- Fractional

- Not

- Similar triangle

- SID/SOD

- 1)1.5 times (50%) [SID/SOD = 90/60]; 2) 12 cm

- Proportionate

- Object (anatomical structure)

- SOD/OID

- Cancel

- A will produce grater sharpness by 1.25 X or 25% (4/3)

- Reduce

- Increasing

Chapter 24

- Shape distortion

- Diverging

- Types

- Greater

- Distort

- Foreshortening

- Elongation

- One-half

- Isometry

- 15

- Artificial

- Elongation

- Range

- Two of the following: 1) Sagging of lateral L-spine; 2) frontal L-spine taken PA rather than AP; 3) frontal

hand with curled fingers taken AP rather than PA; or others

- 0.7 (degrees)

- 0.3 (degrees)

- 7 (degrees caudal)

- Divergent

- Increased

- 2.5 cm; (1”)

- 15 (degrees)

- Not

- 1) Sharpness; 2) magnification; 3) distortion; 4) visibility

- 2

- 1) Patient cooperation; 2) immobilization; 3) short exposure times

- Sharpness

- 1/30 (0.033) [second]

- Subject contrast

- Exposure

- False

Chapter 25

- Small

- Collecting

- Sensitivity

- Changed

- Less

- Penetration

- Contrast

- Latent

- Phosphors; Dels (detector elements)

- Resolution

- Latent

- See list in textbook

- See list textbook

- See list in textbook

- See list in textbook

- 1) SID/SOD ratio; 2) SID, SOD and OID; 3) positioning

- 1) Alignment of beam, part and IR; 2) positioning

- Contrast

- Penumbra (blur)

- Sharper

- Geometrical

- Absorption (penumbra)

- Projected

- Sphere

- Total

- Resolution

- Contrast; sharpness

- Unsharp

- Visibility

- Monitor

- Rotate

- High

- Aliasing

- Frequency

- Pixel

- Template

- Line pairs

- More

- Individual

- Before

- One-half

- 1) 0.17 mm [1/6 mm]

- Pixel

- Two

- Modulation transfer

- Ratio

- 1.0; 100%

- Contrast

- MTF

- Spatial

- Focal spot

Chapter 26

- Narrows

- Errors

- 1) Projections; 2) exposure factors; 3) image processing

- Technique

- One

- Fixed; Variable

- Minimum

- Patient

- Part thickness

- 1) 74; 2) 78; 3) 84

- Chest

- Another body part

- Techniques

- Charts

- kVp

- 4; 2

- 4-

- Patient

- All

- 1) ¾; 2) 1¼ X; 3) 1½ X or more

- mAs

- Calipers

- Assessment

- 1) Quality; 2) radiographers; 3) enforcement; 4) administrators; 5) checks

- Exposure indicator (index)

- Proportional; 4-

- Technique

- 2

Chapter 27

- Consistent

- Light

- Ion chambers

- Capacitor

- Second

- Radiographer

- Circuits

- 0.002; 0.02

- mA

- Minimum response time

- Exposure

- 2

- Excessive

- Thyratron

- Change

- Occasionally

- Underexposure

- Plus

- N – A /N  X 100

- Calibration

- Spot-filming

- Small

- Peripheral

- Compromised

- Tissue

- Collimated

- Radiopaque

- Thickest

- Side

- 3-1-2

- 1-3-2

- Indicator (index)

- Low

- 1) H; 2) H; 3) L; 4) H; 5) H; 6) L; 7) H; 8) H; 9) L

- Not

- Any 3 of the following: 1) kVp; 2) mA; 3) Focal spot size; 4) Detector cell configuration; 5) Back-up time

- Manual

- Starting

Chapter 28

- Matrix

- Brightness level (gray level)

- Pixel; picture element

- Value

- Smaller

- Sharper (higher)

- Two

- 5

- Slow-

- Molecule

- 1) 64 X 64; 2) 128 X 128; 3) 512 X 512; 4) 1024 X 1024

- 1.6 (1.7) (LP/mm)

- Inversely; directly

- Pixel

- Pixel

- Analog

- Digital

- Continuous

- Discrete

- Rounding

- Read-out

- Analog-digital converter

- Digital (to); analog

- Scanning

- Collimation

- Sampling

- Square

- Circular

- Quantization

- Depth

- 64

- 32

- Dynamic range

- Longer

- Pixel

- Displayed

- Longer

- More

- Processing

- 28 , 210 , 212

- Matrix size; Bit depth

- Coefficient

- Voxels; volume elements

- Pixel

- Tubes

- Averaged

- Rounded

- Voltage

- Voxel; dels; pixels

- 1(%)

- Small

- Spatial

- Contrast; spatial

- 1) Algorithm; 2) windowing

- Algorithms

- Windowing

- Processing

- Level

- Darker

- Gray scale

- Lengthens

- Down

- Down

- Workstation

- Resolution

- Display station

- Subdued (reduced)

Chapter 29

- Pre-

- Any 2 of the following: 1) field uniformity; 2) electronic gain and response offsets; 3) variable scintillator

thickness; 4) light guide variations; 5) pixel drop-out

- Post-

- Processing

- Preprocessing

- Flaws

- CR

- Dark current

- Object

- Brightness

- Sensitivity

- Absorption

- Guides

- Dead

- Rows

- Submatrix

- Average

- Outside; Background

- Pattern

- Field

- Brightness (density) level

- White; black (light; dark)

- Main

- SMIN ; SMAX

- Inward

- Anatomy

- Threshold

- Procedure

- Number

- Tail spike

- Left

- Eliminated (removed)

- Type

- Gray scale

- High

- Values of interest

- Compared

- Neural

- A priori

- Shape

- Combine; extreme

- Exposed

- Unrelated

- Bins

- Where

- Logs

- Bar

- Map

- Re-mapping

- Re-labeling

- Histogram

- S

- Min; max

- Q

- Rounded

- High; low

- Gray scale

- Windowing

- Output

- Count

- Partially

- “p”

Chapter 30

- 1) Spatial operations; 2) intensity (brightness) operations; 3) frequency operations

- Spatial

- Intensity

- Frequency

- Area

- Spatial

- Matrix

- Histogram

- Size

- Pixels

- Size

- Brightnesses (pixel values)

- Enhancement; suppression

- Spatial

- Visual

- Spatial

- Mathematical

- Displayed

- Counts

- LUT

- Position

- Input; output

- Formula; function

- Intensity

- Windows

- Manufacturer

- 1) Type; 2) shift; 3) amount; 4) center

- Reduced

- GC

- Histogram

- Read

- Default

- Clipping

- Hardware

- Dynamic range

- Displayed

- Storage space

- Grayscale-compressed (equalized)

- Reduces; increases

- Equalization

- Lighten; darken

- Grayer; more

- Increased

- Separate

- Spatial; frequency

- Local

- Short

- Small

- Separated

- Sub-matrix

- Interpolation

- Each

- Smoothing; edge enhancement; background suppression

- Noise

- Smoothing

- Loss

- Low

- Random

- Frequencies

- Row

- Rounded

- Amplitude (height)

- Amplitude (height)

- Size; pixels

- High

- Size (width)

- Pitch

- 5 (Hz)

- Sharpness

- Fourier transformation

- Largest (biggest)

- Layer

- Size

- Adding

- Brightness

- Multiscale

- Splitting

- Smaller

- Left out

- Lower-

- Smoothing

- Noisy

- 1) Boosted; 2) suppressed; 3) removed

- Band-pass

- 1) Layer; 2) type; 3) enhancement

- 1) Noise; 2) gradation; 3) formatting

- Again

- Periodic; random

- Consistent; pattern

- Signal-to-noise ratio (SNR)

- Same

- Random

- Contrast-noise ratio

- CNR = T1 – T2 / N

- Just noticeable differences

- Granularity

- Alien

- Matrix

- Monitor

- Manufacturers

- 1) Field uniformity corrections; 2) noise and del drop-out corrections; 3) image and histogram analysis; 4) rescaling [processing] of the image; 5) gradation processing [LUTs]; 6) detail processing; 7) preparation for display; 8) operator adjustments; 9) application of special features

- 1; 7

- Visualization

- Type

- Identical (the same)

- Tissue-; bone-

- High-; low-

- kVp; filters

- Photoelectric

- Low-; single

- Unique; consistent

- Spike (peak)

- Dip (depression)

- Wavelengths

- Recomposing

Chapter 31

- Inversely

- 100

- 400

- 200

- Selected

- Half

- Mottle

- Technique

- Feedback

- Indicator (index)

- Not

- Mottle

- High; low

- Histogram

- Technique

- 1) Logarithmic; 2) proportional; 3) inversely proportional

- 2

- 50

- Brightness

- Decoupling (separating)

- 25(%)

- Standard

- Microgray

- Header

- Management/quality control technologists

- Parameters

- Techniques

- Deviation

- Exposure

- Target EI

- Displayed

- 20(%)

- Multiplies

- 1.59

- 2

- Radiologist

- 50

- Saturation

- Electrical charge

- Maximum

- Processing; corrected

- Detector

- Overexposed

- No

- 10

- An; measurement

- Any 4 of the following: 1) Extraneous exposure information; 2) exposure field recognition error; 3) unexpected material in field; 4) collimation margins not detected; 5) extreme over- or under- exposure; 6) delay in processing

- Algorithm

- Menus

- Lost

- DICOM

- Consultation

- Viewing; window

- (copies of) Both [Misprint on this question]

- Saving

- Default

- A) Rescaling; B) Gradation LUTs; C) Dynamic range compression; D) Local (edge) contrast settings

- Smoothing

- Adjusted

- Increases

- Darker

- Increases

- Longer

- Demonstrate

- Local

- Contrast

- Reduces

- Identically

- Subtractive; Foreground

- Mottle

- Underexposure

- Repeated

- Detail

- Noise

- Halo

- Edge enhancement; smoothing

- Excessive

- Changed (adjusted)

- Equalization

- Center (Mid-)

- Extreme

- More

- Values of interest

- Unprocessed

- All

- Mean

- Brightness

- Filters

- All

- Re-collimate

- Lead

- Glare; contrast

- Matrix

- Visual

- Larger

- Improves (increases)

- Information

- Stitching

- Detector

- 1) Gray; 2) balanced [optimized]; 3) high; 4) maximum [highest]; 5) absent [removed]; 6) representation; 7) minimized; 8) pixelly

- Characteristics

- mAs

- kVp

- Leveling (window level)

- Windowing (window width)

- Exposure

Chapter 32

- Signal

- Initial; penetration

- kVp

- Contributing

- Doubled

- kVp

- Large

- Exposed

- 15(%)

- 60

- Contrast

- Indiscernible

- Fog

- Irrelevant

- One

- 67(%)

- Reduced

- Always

- kVp

- Adjusted

- Minimum

- Reduction

- Acceptable

- Subject

- One

- Extreme

- More

- Exception; not

- Range

- Error

- Apparent

- 20

- Moderate (slight)

- Over-

- 40-50(%)

- Minor

- mAs

- Detector (image receptor)

- Absent (missing)

- Range

- Fog

- Correct (compensate)

- During

- Prior

- Structure

- Landmark

- White (blank)

- Patterns

- Different

- High; low

- Pairs

- 2; 3

- See textbook

- Collimation

- Charts

- Proportional

- Essential

- 4-; 15; thumb

- Index

- kVp

- kVp

- Detector cells

- Termination

- 13

- 1/3; ¼

- Flexibility

- Supplanting (replacing)

- Noise

- Severe

- 13

- Distal (small) extremities; 3

- Interference

- Periodic; high

- Stationary; scanning

- High

- Perpendicular

- 13

- Aerated

- 6:1

- Mottle

- Mottle

- Both

- Not

- Grids

- Contrast; noise

- Not

- Intensity (severity)

- 50(%); 70(%)

- Portions (areas)

- Filters

- Mottle (noise)

- One

- Segmentation (partitioned pattern recognition)

- Shielding

- One

- 30(%)

- One

- 30%

- No

- Anatomy

- 75(%)

- Faded

- Erased

Chapter 33

- Direct; carried

- Connected

- Positioning

- Efficiency

- 1/10th; 1/10th

- Active matrix

- Detector

- Patient

- Del

- Picture

- Pixels

- DR

- Phosphor

- 1) Detection surface, 2) TFT, 3) Capacitor

- Array

- TFT

- Component

- Semiconductor

- Detective quantum

- Fill

- Spatial

- Technique

- Capacitor

- Gate

- Electron-hole

- Holes

- Charge

- Address

- Data

- Silicon

- Phosphor

- Scintillates

- Channels

- Thicknesses

- Spatial resolution; dose (exposure)

- Cassettes

- Aluminum

- Penetrating

- Felt

- Forward

- Stimulated

- F (Farbzentren)

- Ionize

- 2

- Fluorescence

- Phosphorescence

- Dim

- Energy

- Within

- Rollers

- Circular

- Slow; Sub-scan

- Photomultiplier

- Photocathode

- Photoelectric

- Dynode

- Colors (wavelengths, frequencies)

- Barrier

- Eraser

- Patient

- 10

- 2

- Prior

- Noise

- Segmentation

- Rotate

- Sampling

- Pitch

- Size; Pitch

- Smaller (less)

- Space

- Edge

- 2

- Pixels

- LP/mm

- 5; row

- 1 / 2P

- Width

- 10

- 16.7 LP/mm

- Hardware; light; hardware; light

- Pixels; dels

- Change; fixed

- Size; collimation

- Microns

- 5

- Consistent

- Wires

- Size

- Maximum

- Same

- Consistent

- Smaller; Field-of-view

- Del

- Smaller

- Hardware

- Matrix; FOV

- Soft

- Variable

- Change

- Size

- Smaller

- Increased

- Light

- Displayed

- Each

- Spread

- Larger

- Pixelly

- Field-

- Apparent

- Same

- Improve (increase)

- Sampling

- FOV; matrix

- Matrix; sampling

- Dels; pixels

- Moire

- Sampling

- False

- 2

- Pulse

- 1) Copy; 2) Zooming; 3) Insufficient; 4) High-; 5) Superimposing

- CR; CR

- Lower

- Radiologist’s

- Common; algorithms

- Computer

- Image

- Sensitivity

- Less

- Inherent

- Speed class

- Available

- Inherent

- Computer

- Contrast

- Radiolucent

- 1)Absorption; 2) conversion; 3) emission

- Absorption

- Chemical

- Emission

- Direct-

- Atomic; K-edge

- Absorption

- Thicker; lower (less)

- 100(%)

- Detective quantum

- 1.0; 100(%)

- 1) 30; 2) 67; 3) 77

- Electronic

- More

- Image receptor plate

- Computer hardware; software

- Transport; scanning

- Drop-out

- Noise

Chapter 34

- Liquid crystal display

- 1) Less; 2) less; 3) less; 4) longer; 5) less

- Viewing (angle)

- Parallel

- All

- Liquid

- Align

- Scratches

- Line up

- Perpendicular

- Spiral

- Both

- Wires

- Pixel

- No

- Charge

- Second

- Dark

- Gray

- Reflected

- Brighter

- Evenly

- Active-

- Brightness

- Refresh

- Flicker

- Interpolated

- Between

- Delaying

- Damage

- Dead

- 1) Brightness; 2) black; 3) time-; temperature

- Angles

- Behind

- Changed

- Outweigh

- Magnification

- Low

- Rate

- 1) Candela; 2) Lumen; 3) Lux

- Steradians

- 6

- Directions

- One

- Lumen

- Photoelectric

- 250; 500-600

- Surface

- Contrast

- 25(%)

- Perpendicular

- Tilted

- Location

- Gray levels

- Triad (triplet)

- Subpixel

- 18

- Domain

- Subpixel

- Pixel

- Addressed

- Voltage

- 3

- 3

- Resized

- Hardware

- Maximum

- Fixed

- Dot

- Resolution (sharpness)

- Smaller

- 0.2 (mm); 0.1 (mm)

- Dot

- Blur

- 3-5

- 2

- Weakest

- Destroy

Chapter 35

- 1) Acquisition; 2) processing; 3) display; storage

- Digital; analog; DAC

- 1) Retrieve; 2) Display; 3) Transmit; 4) Storage

- Electronically

- Users

- Control; server

- Jukeboxes; 1 million

- 1) Print; 2) LAN; 3) WAN

- DICOM

- Behavior

- Database

- Metadata

- Header

- Image

- Tag; type

- 1) Accession; 2) exam; 3) exposure; 4) orientation; 5) processing

- 1) Windowing; 2) minification

- Internet; encryption

- Erase

- 24

- 5

- On-line; archive (long-term)

- Prefetching

- Compression

- Lossy

- 8:1

- Viewers

- Resolution

- Applied

- Medical-

- Columns; rows; bit depth

- 2 raised to the 8th power

- 1) Condensing; 2) averaging; 3) Redundancy

- Tolerances

- High

- Moderate

- Low

- 1) Software; 2) workstations; 3) electronic

- Devastates (destroys, reduces)

- URL; server

- Redundant array of independent discs

- Independent; lost

- Storage area networks; remote; clinical

- Parallel

- Attached

- Outages

- Crashes

- Local area network

- 1) Integration; 2) Efficiency; 3) Accuracy; 4) Functionality

- HL7; DICOM

- Medical

- Interface

- Providers

- 1) Privacy; 2) Authentication; 3) Integrity

- Privacy

- Umbrella

- Clinical information systems; Administrative information systems

- Protocols

- Transmission control protocol

- Internet protocol

- WANs (wide area networks)

- Intranet

- DICOM

- Worklists

- Number

- Accession; header

- Bandwidth; bits per second

- Broker

- Medical Image Management and Processing System

- Vendor-Neutral Archives

- Enterprise

- Interface

- Compatibility

- Modulator-Demodulator

- Optic

- Teleradiology

- Baud

- Direct Memory Access

- Wide area network

- Node

- LAN

- Internet protocol (IP)

- Network

- Switch

- Router

- Downloading

- Compatible

Chapter 36

- Assurance

- Control

- 1) Purchase; 2) baseline; 3) deviations; 4) documentation

- 5(%)

- Adjacent

- Least

- 5(%)

- Layer

- Intensity

- Fit

- Type (power)

- Penetrating

- Filtration

- 5%

- 2(%)

- Blooming

- Damage

- Slit

- 10(%)

- Observational

- Change

- Year

- Visible area

- Input phosphor; 3(%)

- 2(%)

- Visual

- All

- Anode-heel

- White

- Normal

- Bulbs

- Exposure

- Process

- Shorter

- Immediately

- Mesh

- Resolution

- Generic

- Diagnosis

- Rate

- Radius

- 6

- Directions

- Flow (flux)

- Lumen

- 1) 800; 2) 600; 3) 1000-3000; 4) 500-600

- Year

- Photometer

- Striking

- Illuminance

- Lux

- 25

- Shades

- Just noticeable differences

- Luminance ratio

- Black

- Area

- Room

- Light

- Noticeable

- Low

- Noise

- 2.5 (LP/mm)

- Vertical

- Pixel

- Subpixel

- White (light)

- Stuck

- 1) 15; 2) 3; 3) 3

- Viewing

- Photometer

- Positioning

- Lost

- 3-5(%)

Chapter 37

- Battery-

- Technique

- 8

- mAs

- Fingertip; fingertip

- 15(%)

- 15 (degrees)

- 25 cm (10”)

- Back

- Behind

- Isometry

- Anatomy

- Virtual

- Conventional

- 1) Orienting; 2) Centering; 3) Tilt

- Patient dose

- 6:1

- Chart

- Dynamic

- One

- Exposure

- Image intensifier

- Spot

- Cumulative

- Circuitry

- 1

- Brightness

- Resolution

- Needle-

- Photocathode

- 200

- Electrostatic focusing

- Minification

- Kinetic

- Flux

- Electrons; light

- 5000; 20,000

- Conversion

- 50; 200

- Diameter

- Area

- Magnified

- Focal

- Dual-

- Resolution

- Increase

- Area

- Compensated

- Gain

- Technique

- Photocathode

- 1) kVp; 2) following; 3) mA; 4) Variable

- Quality

- Less than 100 mGy per minute

- Hunting

- Optical

- Semiconductor

- Electrodes

- Sequence

- Positive

- Gate; switch

- Latent

- Amplifier

- Twice

- Complimentary metal-oxide semiconductor

- Positive; negative

- Electronics

- Digital

- Continuous

- Fill

- DR; Fill

- Pixel; higher (increased)

- 1/100th; inexpensive; speed

- Spatial

- Analog

- Active pixel sensors; Silicon pixel detectors

- Fifth

- High

- Noise

- Disable

- Intensification

- Scintillation

- Drifting (moving)

- Current (mA)

- Contrast

- 10(%)

- Pincushion

- S-

- Mesh

- Veiling

- Vignetting

- Coupling

- Electronic

- 1024

- Patient

- Markers

- 1) Transverse; 2) longitudinal; 3) rotation; 4) AP; lateral

- Above; under

- Exposure

- Long (extensive)

- Intermittent

- 5-

- Hold

- Pulse

- Frame

- Collimation

- Second

- Short

- “Frame”

- Saved

- 20; 100

- Subtraction

- Generators

- Interrogation

- Extinction

- 15

- 7.5; 15

- Move

- Duplicates

- Width

- Interval

- Frame

- mA

- Instantaneous

- Mottle; mA

- Net

- Excessive

- Short

- Half

- Gain; field; filtration; continuous

- Rate

- Temporal

- Previous; subsequent

- Diminishes

- Contrast

- Image intensifier

- DR; dynamic

- Sizes

- Panel

- Direct; indirect

- Continuous

- Rod

- Powder

- Spatial

- 200-300

- “spot”

- Bin

- Reduced

- Matrix

- 2.5; TFT

- Camera

- FOV (field-of-view)

- Diode

- Diagonal

- Ratio

- Distortion

- Removing

- Temporal

- Time

- Easier

- Contrast

- One

- Noise

- Pixel-

- Motion

- K-

- Filtration

- Hybrid

- Catheter; wire

- Opacification

- Live

- Path

Chapter 38

- 1) Patient; 2) self; 3) other members of the health care team

- Thomas Edison

- 1) Time; 2) distance; 3) shielding

- Safest

- Underestimated; distorted (overestimated)

- 3 mGy/yr)

- 3-5 (mGy)

- Occupational; background

- 0.2 (mGy)

- 6 km (6.4 km); 2 (cigarettes)

- 120-150 (mGy)

- Spread

- 600

- Burn

- Cumulative

- 250 (mGy/hr)

- 17

- Earthquake

- Meltdown

- 130; Single

- Core

- Lowest

- 2 Gy; 2000 mGy

- 1 Gy (1000 mGy)

- All

- 1) Cosmic; 2) terrestrial; 3) internal

- Man-

- 300 (microgray/yr)

- Cosmic

- Airline

- Terrestrial

- 400 (microgray)

- 1000 (microgray)[1 milligray]

- Basements

- Medical

- Third (1/3)

- 20,000; 50,000 (microgray) (20-50 mGy)

- 1000; 2000 (microgray)

- 3 (times)

- 2000-3000 (microgray) [2-3 milligray]

- Six

- CT

- Reduction

- Technology

- 40(%)

- 1) Media; 2) particulate; 3) electromagnetic

- Mass; amount

- Harm (damage)

- Millimeter

- Concentrated

- All

- 2

- 1-2

- 10(%)

- Isotopes

- Gamma

- Half-life

- Future

- Independent

- Distinct (unique)

- Half-life

- 25(%)

- Non-radioactive

- 1) 3 half-lives; 2) 10 microcuries; 3) 6.7 microcuries 4) 3 1/3 half-lives; HL = 8 hours

- Accurate

Chapter 39

- Systeme International

- 1) Exposure, 2) Dose, 3) Equivalent, 4) Effective

- Surface

- Ionizing

- Entrance Skin (Exposure)

- Question

- Charge

- Coulomb

- SID (source-to-image distance)

- Air Kerma

- Gray

- Body

- Area Product

- 21,600

- Skin area

- Biological

- Distributed (spread out)

- Integral

- SIE

- Absorbed

- Gray; Gy

- Joule

- Kinetic Energy (Released per) Mass

- GyA

- ESD; ESE (entrance skin dose; entrance skin exposure)

- Volume

- 10 (cm)

- Denser

- Less; 0.96

- 1; 1

- Mean glandular

- Larger (greater)

- Area Product

- Field size

- 6,912; 69,120; 19 times

- Field

- Each

- DAP

- Integral

- Sievert

- Type

- 1) 1; 2) 1; 3) 10; 4) 20

- 40 (mSv)

- 1; 1

- Wt

- 0.6 microsieverts

- Procedures

- Fluoroscopy

- One-tenth

- 10

- Becquerel

- Population

- 100 (mSv)

- Year

- 1 (mSv)

- 3-5 (mSv)

- Dose equivalent limits

- Young; old

- 1) Gonads; 2) bone marrow; 3) lens of eye

- Age

- Required

- Long-

- 50 (mSv)

- Averaging

- Young

- Retrospective

- Evenly

- Stringent (restrictive)

- 0.5 (mSv)

- Waist

- Life

- Once

- 5 (mSv)

- Patients

- Malpractice

- Significant

- 500 (mSv)

- 150 (mSv)

- Higher

- Genetic

- 200 (microsievert)

- Lumbar spine

- Acceptable

- 1) Detection; 2) rate; 3) integrate

- Integrate

- Sensitivity

- Increase (enlarge)

- Amplification

- Threshold

- Accurate

- Current

- 1) Sensitivity; 2) alignment; 3) noise; 4) power

- Resolving

- Interrogation

- 0.3 X 10-3 seconds

- Intensity

- Penetration

- Sensitive

- 1) Increased; 2) increased; 3) faster

- Against

- Validity; reliability

- Scintillation

- Photocathode; accelerated

- Sensitivity; range

- Optically Stimulated Luminescence

- PSPs (Phosphor plates)

- Trap

- Energy

- Current

- Year

- 10 microgray

- Heated

- Annealing

- Area

- Type

- Forward

- Film-

- Densitometer

- Moisture; Chemical fumes; Heat; Light

- Electrical

- Neutralize

- Electroscope

- Scale

- Readable

- Accuracy

- Ideal

- Accuracy

- Cascade

- Imaging

- Saturation (avalanche)

- Every

- Resolving

- 1) TLDs; 2) film-badges; 3) pocket-dosimeters

- Month

- Control

- Independent

- Threshold

- Recombine

- Proportional

- Voltage

- Proportional

- Spark (arc)

- Discharge

- 1) Simple ionization; 2) Geiger-Mueller

- Constant

Chapter 40

- 80(%)

- Highly

- More

- Sensitive

- Somatic

- Transport

- Phospholipid

- Nucleolus

- Anabolism

- Catabolism

- Endoplasmic reticulum

- Autosomes

- Information

- Base

- A; C

- Codon

- Messenger

- Travels

- Amino acid

- Ribosome

- Transporting; translating; protein-building

- Protein

- Transfer RNA (tRNA)

- Metabolism

- Growth; repair

- Inheritance (heredity)

- Disrupt

- Hours

- Interphase

- Chromatin

- 1) Strands; 2) fibers; 3) chromatids

- Organelles

- Replicates (duplicates)

- Gap 2

- Replication

- Swelling

- Spindle

- Observable

- Split

- Membrane

- Gametes

- Reduction

- One-half

- S-

- Mitosis

- S-

- Metaphase

- Differentiated

- Specialization

- Primitive

- Future

- Lens

- Oocyte (egg cell)

- 10

- 2

- Population; Severity

- A. Linear; linear; B. Threshold; threshold

- Proportional

- Rate

- Safe

- Somatic

- Body

- Weak (unhealthy) ; strong (healthy)

- No

- (Non-)Threshold

- Radiation

- Population

- ALARA

- 90(%)

- Survival

- Lethal

- Damage

- Threshold

- One

- Target; hit

- Sensitivity

- Indirect

- Chemical

- Free radicals

- Single

- Covalent

- Radical

- Second

- Low-

- Toxins

- In vitrio

- Instant

- Interphase

- Reproductive

- Mitotic

- Small

- Frame shift

- 1) Both

- Scission

- Point

- Lethal

- Unrepairable

- Direct

- Repaired

- Frame shift

- Unique

- Recessive

- Any

- Karyotype

- Attach

- Two

- Linear energy transfer

- Energy

- Lower

- Specified (specific)

- 250

- More

- Chronic

- Longer (extended)

- Rate

- Recovery

- Recover

- Higher

- Free radicals

- Enhancement

- Indirect

- Low-; High

- Increased (higher)

- Radiosensitizers

- Physical

- 1) Low; 2) low; 3) indirect; 4) oxygen; 5) single-; 6) sublethal; 7) point

- Hormesis

Chapter 41

- Populations

- Control

- Projects

- Assumptions

- Applied

- Two

- Number

- Ratio

- Beyond

- Severity

- Certain

- Large

- C-arm

- Early

- Threshold

- Probability

- All; nothing

- Low (slim)

- Stochastic

- (Non-)threshold

- Stochastic

- Deterministic

- Higher (greater)

- Hours; weeks

- 90(%)

- Cumulative

- 1) Somatic; 2) deterministic; 3) non-linear; 4) threshold

- Early; late

- Temporary

- 50 (mSv)

- About one-half

- 50(%); days

- Greater (more)

- 100/60

- 7

- 1

- 3.5; 4

- Sigmoid-

- N-V-D

- Subside (go away)

- Life-

- 1) Prodrome; 2) latent period; 3) manifest illness; 4) death or recovery

- Inversely

- Prodromal (prodrome)

- Latent

- Life-

- Bone marrow

- Blood

- Small intestine

- Dehydration; malnutrition (starvation)

- Brain

- Mean survival

- Decreases (shortens)

- 1) 2-8 weeks; 2) 4-10 days; 3) 2-3 days

- 7-10; 4-7

- Hours

- Mucosa

- Constant

- 1) 1; 2) 6; 3) 50

- Atrophy

- Erythema

- Ulcers

- 2 (Gy)

- Epilation

- 3 (Gy)

- Linear; (Non-)threshold

- Teratogenic

- (Non-)threshold; linear

- Stage

- Abortion

- Complications

- 0.1(%)

- Organogenesis

- 6(%)

- Skeletal

- Neurological

- Retardation

- 6.5(%)

- Trimester

- Carcinogenesis (cancers)

- 1/3

- Direct

- Mutagenic

- Non-threshold

- Negligible

- One

- 100 (mGy)

- 0.5; 2.5

- Birth

- No

- Cumulative

- 12

- 150; 250 (mGy)

- Cataracts

- Latent

- Cardiovascular; interventional

- 33(%)

- Lung

- Epidemic

- Excessive

- 5-10

- Dial

- 10-20

- Thyroid

- Least

- Bone marrow

- 20 years

- 12(%)

- Never

- Risk

- 15(%)

- Limits

- 40

- 90(%)

Chapter 42

- 1 (mGy)

- (3-)4

- 5

- Lumbar spine

- 70 (mGy)

- 35; 60

- 24 (mGy/min)

- Thousandth

- Hundredth (100th)

- 1/3

- High; low

- kVp; mAs

- 2/3

- Removed

- 100

- Double

- Collimation

- Reduce (lessen)

- Minimum

- –lucent

- Saved (reduced)

- Non-grid

- Virtual

- Mottle

- Dose creep

- Minimized

- Inverse square law; greater ratio

- SSD (source-skin distance)

- Default

- 1) ESD (entrance skin dose; 2) Spatial; 3) Decreased; 4) Increased

- 2 cm

- Vertebra

- Upright

- mAs

- Mottle

- Charts

- Before

- Penetration

- Contact

- Collimator

- 5

- Rubber

- Abdominal/pelvic

- Not

- 1) Genetic; 2) Technology; 3) AEC; 4) Obscure; 5) Accurately; 6) Internally-

- 1) Iliac; 2) Lap; 3) Lap

- 85(%)

- Could

- 10

- 100 (mGy)

- Dead-man

- 38cm (15”); 30cm (12”)

- Re-set

- Shutters

- 100; 21

- 10 (mA); 100 (mGy)

- Hazard (risk; exposure)

- Width

- 1) Maximum; minimum; 2) Smallest [least]; 3) Collimation; 4) Hold; save

- Grid

- 87(%)

- C-arm

- Burns

- 200; 400

- High-risk

- Referrals

- ¼

- Highest (most)

- Outside

- 10

- 1) ID (identification); 2) Period; 3) Cumulative; 4) Cumulative; 5) Total; 6) Lifetime

- Negligible (minimal)

- 10

- 3 months

- Accessible

- Cumulative

- Patient

- 1) Time; 2) distance; 3) shielding

- 2

- 1000th

- 500,000th

- Isoexposure (isodose)

- Dropping (decreasing)

- Head; foot

- Right

- Forward

- Lead aprons

- 2; 6

- 50 (microgray)

- 0.5 (mm)

- 0.25 (mm)

- 66(%); 99(%)

- Effectiveness

- Intensity

- 85(%)

- Hardening

- Not

- 2.0

- 0.25

- Park

- 6 (meters)

- 1) Mechanical device; 2) adult relative or friend; 3) –RT; 4) –reproductive

- Distribute

- Short

- 1000th

- Twice

- Waist; outside

- High-

- 1 (mGy/hr)

- 2.0

- Audible; visual

- Scatter

- Secondary

- 1.5 (mm)

- 0.8 (mm)

- 2.2 (m)

- 4

- 4

- W X U X O X E / D

- mA-minutes

- Use; 8

- 1.0

- Occupation

- 1/5

- Wall

- kVp

- DEL

- Controlled

- 20 (microgray)

- 10

- Caution – Radiation Area

- Hour

- 1) National Council on Radiation Protection; 2) International Commission on Radiation Protection; 3)  Nuclear Regulatory Agency; 4) United Nations Scientific Committee on the Effects of Atomic Radiation

- NAS/NRC (National Academy of Sciences/National Research Council

- Agreement

- ALARA

- Educating