INSTRUCTOR RESOURCES

to accompany

RADIOGRAPHY IN THE DIGITAL AGE

4th Edition

by Quinn B. Carroll, MEd, RT

A. Table of Contents

B. Preface and Instructions for Using This Manual

- Answer Keys to Chapter Review Questions

- Answer Keys to the Student Workbook

III. 	Multiple Choice Question Banks by Chapter

IV. 	Answer Keys to Multiple Choice Questions

V. 	Laboratory Exercises:

A. Radiography Concepts

Lab #1: Adequate Penetration and kVp

Lab #2: Grid Cut-Off

Lab #3: Focal Spot Size and Sharpness of Detail

Lab #4: SID Vs. Magnification and Sharpness

Lab #5: OID Vs. Magnification and Sharpness

Lab #6: Distance Ratios Vs. Magnification and Sharpness

Lab #7: Beam-Part-Receptor Alignment and Distortion

B. Digital Radiography (CR or DR)

Lab#1: Estimating the Speed Class Setting of a Digital Unit

Lab#2: Resolution: Film/Screen Systems Vs. Digital

Lab#3: Exposure Parameters Using mAs

Lab#4: Effects of Technique on the Histogram

Lab#5: Effects of kVp on the Digital Image

Lab#6: Sensitivity of CR Plates and Processing to Scatter and Background Radiation

Lab#7: Resilience of Digital Processing to Scatter Radiation Caused During Exposure

Lab#8: Attempts to Corrupt the Exposure Indicator – by Dennis Bowman

Lab#9: Attempts to Induce Histogram Analysis Failure

Lab#10: Effects of the Displayed Field of View

Lab#11: Digital Processing Features

Lab#12: Employing Alternate Algorithms

Lab#13: CR Phosphor Plate Size and Sharpness

Lab#14: Attempt to Induce Aliasing Artifacts

Lab#15: Attempts to Corrupt the Exposure Indicator -by Dennis Bowman

C. Quality Control

Lab#1: Timer Quality Control Tests

Lab#2: mA Linearity Test

Lab#3: Exposure Reproducibility Test

Lab#4: Focal Spot Size Test and Blooming (Demonstration)

Lab#5: Beam Alignment and Field Size Accuracy

D. Radiation Protection

Lab#1: Dose Rate and Integrated Dose Vs. mA

Lab#2: Radiation Measuring Devices

Lab#3: Resolving Time and Voltage Response

Lab#4: Half-Value Layer: Filtration and kVp

Lab#5: Shielding: Lead Aprons

Lab#6: Exposure Levels and Barriers

Lab#7: X-Ray Tube Leakage

Lab#8: Scatter Exposure to Personnel Vs. Location -by Dennis Bowman

E. Grossman Labs

Lab#1: Automatic Exposure Control

Lab#2: Half Value Layer (HVL) as a Function of kVp

Lab#3: Half Value Layer (HVL) as a Function of Added Filtration

Lab#4: C-Arm (Dose as a Function of Mode of Operation)

F. Radiography Concepts Labs for Film/Screen Equipment

General Instructions for Labs

Lab Practice #1: Determining Density and Contrast Changes

Lab #1: mAs

Lab #2: Adequate Penetration

Lab #3: kVp

Lab #4: 15 Percent Rule for kVp

Lab #5: Machine Phase

Lab #6: Field Size Limitation

Lab #7: Grids

Lab #8: Grid Cut-Off

Lab Practice #2: Measuring Sharpness, Magnification and Distortion

Lab #9: Intensifying Screen Emission

Lab #10: Intensifying Screens

Lab #11: Focal Spot Size

Lab #12: Anode Heel Effect

Lab #13: SID

Lab #14: OID

Lab #15: SID/OID Ratio

Lab #16 Beam-Part-Film Alignment