Answer Keys to Chapter Review Questions, 4th Ed.

# Chapter 1

- Parsimony

- Correcting

- Cathode

- Alpha, beta and gamma

- Fluoroscopy

- 1) Sufficient computer power to handle large files of high-resolution images, and

2) Miniaturization of electronic detector elements (hardware pixels) smaller than

the resolution of the human eye.

- Processing

- 1) particles, 2) mechanical waves in media, and 3) electromagnetic waves

- Ionize

- Natural

# Chapter 2

- Remain the same

- (Physical) density

- Mass

- The weak nuclear force

- The millimeter (mm)

- Micro- (μ)

- The angstrom

- The joule

- Potential; kinetic

- Electromagnetic

- Compress

- State, position, or potential energy

- Conduction, convection, and radiation

- Absolute zero

- Nano-(volt)

- 0.08

- 0.2

- 0.0000005 kg or 5 X 10-7 kg

# Chapter 3

- 0.43 (0.4286)

- 34%

- –38.44

- 36

- –40

- 66

- 3 X 10-1 mg

- 8 X 10-6 mm

- 6.4 X 105  (or 64 X 106) kg

- 5.3 X 1010 gm (or 53 X 109 gm)

- 11.34 X 103 (or 1.134 X 104)

- 3.38 X 107 (3.375 X 107)

- 11,340

- 33,800,000 (or 33,750,000)

- 6.4 X 10-4 hr (or 0.064 X 10-2 hr)

- 8.5 X 103 μV

- 109 Å (1 X 109 Å)

- 30,000 cm2

- 2,000,000 (2 million)

- 1/16th (or 0.625 times)

- 17.7 Gray

- 6.7 Gray (or 6.67 Gray)

- 175 rad (170-180 rad)

- Threshold; non-linear

- Point A represents the minimum kV energy present in the x-ray beam

- 8 million (approximately)

- 3400(-3450) pixels

- None

# Chapter 4

- Six

- 53

- W

- Periods

- The number of electrons in the outermost shell (for an electrically neutral 	atom)

- An orbital

- Almost 2000 times

- The “octet” rule (outermost shell rule)

- 2

- Covalent

- Because it generates an electrical force field (or a force) around it

- Projectile electrons from the cathode

- A radioisotope

- 131

- 24

- Fission

- The atomic number increases by 1

- Nothing

- Two positions to the left

- ground

# Chapter 5

- Amplitude

- Transverse and compressional (or longitudinal)

- 1.3 meters

- It would double

- 273 meters (2.73 X 102 meters)

- 4.6 X 1014 hertz

- 0.16 angstroms

- Electrical charge

- Visible light

- Microwaves

- Radiolucent

- Reflect

13.	1) Reading of CR phosphor plates, 2) film digitizers, 3) laser film printers,

4) reading and writing of optical discs for storage.

14.	1) A medium, 2) a power (or pumping) source, 3) a resonant cavity

15.	Carbon

16. Perpendicular

17. Diffusion and scattering

18. Interfere

19. Waves; particles

20. 3 cm

21. 25 cm/sec

22. 5 hertz (cycles/sec)

## Chapter 6

- 1) It must have electrical charge; 2) It must be in motion

- 1) Ferromagnetic, 2) paramagnetic, 3) non-magnetic, 4) diamagnetic

- At the poles

- Natural, permanent (artificial), and electromagnet

- 0.125 gauss which is repulsive

- The coulomb

- The ground

- 1) Friction, 2) conduction (contact), and 3) induction

- They will move away from each other; They will slow down

- 48 millivolts

- Because, compared to protons, they are 1) very loosely bound in the atoms 		and 2) they have much lighter mass

- Minus 11 each

- Polarization

- It is reduced

# Chapter 7

- One ampere (amp)

- 1.008 X 1018 electrons

- 1) A source of electromotive force (EMF), 2) a conductor, 3) a resistive 	device

- 1) Longer length 2) narrower diameter, 3) poorer conducting material

- Series and parallel

- 22 amps

- 6600 volts

- 0.325 ohms

- 0.2 amps (or 200 mA)

- 25 ohms

- Moving

- Induction

- From points D to E, electron flow is slowing down, whereas it is speeding 	up for

- points C to D

- Minus 110 volts

- 1/60 second (0.017 sec)

- (Pulsed) DC (or rectified AC)

- A stator and a rotor

- An induction motor

- Step-down

- 6600 volts (or 6.6 kV)

- Self-induction

- 150 volts (5/8 of 240)

# Chapter 8

- Rectification

- Autotransformer; rectifier bridge

- Array of mA-selecting resistors; x-ray tube cathode

- 100 – 400 volts

- 1:44

- Positively-charged “holes” in the outer shells of the molecules

- Because the diode is polarized when current flows in a backward direction

- To provide high numbers of electrons which increase friction effects in the

wire

- Exposure must be automatically delayed until the temperature of the 	filament

- reaches the pre-set mA value

- A resistor

- The autotransformer

- In parallel

- The tube current

- Thermionic emission

- Discharge of current from the anode to the cathode can vaporize the 	filament wire

- They can be cut to about ½

- Ripple effect

- Turn up the “density” control setting

- Because with thicker anatomy, it takes longer for the accumulated 	exposure to

the AEC detectors to reach the pre-set threshold for shutting off the exposure.

- The thyratron

# Chapter 9

- Air molecules impeded some of the projectile electrons from reaching the 	anode.

- 0.5%

- A grid-controlled tube

- 1) The filament is brought up to full temperature, 2) the rotor spines the anode disc,

3) the 	bucky grid mechanism is engaged

- Thermionic emission

- Molybdenum or nickel

- Thorium

- Rhenium

- To about 1/20th (by about 95%, to about 5%)

- Poor; good

- 3400 rpm; 10,000 rpm

- Worn ball bearings in the anode shank

- Induction motor

- Focusing a large amount of electrons on a very small focal spot would overheat the

anode focal track.

- Increases

- Failure of the rotor motor or ball bearings to spin the anode

- An increased number of electrons in the space charge cloud results in them 			repelling each other farther away.

# Chapter 10

- “Braking radiation”

- Its heterogeneous energies provides for differential absorption of x-rays

- Generally, there are more low-energy x-rays than high-energy x-rays in 	the beam

- Because statistically it is less likely for a projectile electron to pass close to an

atomic nucleus than for one to pass at a greater distance

- A “silhouette” image

- Any of the following: The glass envelope of the x-ray tube, the anode disc,

the oil surrounding the tube, or the beryllium window

- Characteristic interaction

- 68 kV

- 11.99 kV

- Binding

- The particular element or atomic number used for target material

- Excitation

- Atomic numbers

- mAs

- Filtration

- No

- Because it can undergo more bremsstrahlung interactions before running out of

energy

- Peak

- Quality; quantity

# Chapter 11

- Central ray

- Remnant

- Object-to-image receptor distance

- Geometrical variables

- Viewing conditions

- Photoelectric

- Slightly higher

- 2 kV

- 20 kV

- 0.501 kV (501 volts)

- Compton interaction

- 76%

- At a reverse oblique angle from the direction of the CR

- Noise

- Energy; direction

- It has too low energy to escape out of the patient’s body

- 4 (to 5) cm

- Atomic number and physical tissue density

- Shade of gray

# Chapter 12

- Subject contrast is the difference in x-ray intensity between different portions of

the remnant beam, (which constitute a latent image or signal).

- All of them

- Tissue physical density

- Tissue physical density

- Electron

- An equal

- Cube (3rd power)

- Occurrence of Compton interactions decreases, but only slightly

- Proportions

- Photoelectric

- 40 to 1

## Chapter 13

- Displayed

- Intermediate

- Gray scale

- Any three of the following: Quantum mottle, receptor mottle, fog, exposure

artifacts, patient artifacts, receptor artifacts, processing artifacts, electronic

noise (snow), etc.

- Penetration

- Visibility

- 1.78

- High

- Noise

- Signal

- Mottle

- Chapter 14

- Geometric

- Because no source of radiation is an infinitely small point, (all consist of 	areas).

- If the focal spot is significantly larger than the object being projected.

- Shape distortion

- 0.67 mm

- 0.055 mm

- 6

- By 1½ times or 50%

- 3 X

- 10.67 cm

- 44%

- Magnification = 2 X; Shape distortion = 2 X

- Blurring or loss of contrast

- Resolution

# Chapter 15

- The flow rate of electricity

- 1) It is directly proportional to exposure, 2) It affects only the exposure 	level

- Proportion (percentage)

- Tomography including autotomography (breathing or wagging-jaw 	techniques)

- Quantum mottle

- Motion

- 1/3

- 7

- 1.8

- 62

- 15

- 7.2

- 0.16

- 0.05

- 0.6

- 0.25

- 0.2

# Chapter 16

- Penetration

- The autotransformer

- There is a greater bone-to-soft tissue ratio in the lateral pelvis

- mAs

- 92 kVp with ¼ second

- 9

- 129 kVp

- 120 (-122)

- 60% (50% plus 20% of 50)

- Insufficient penetration through the anatomy

- Yes

- No

- a. 64

b. 84

c. 90

d, 86

# Chapter 17

- Because negative (backward) pulses of electricity are completely blocked 	from

- reaching the x-ray tube, so there are only 60 pulses per second 	instead

- of 120.

- Penetration (energy); intensity (quantity)

- 99%

- (70-) 72 kVp

- It is unaffected (because final image contrast is controlled by computer

algorithms).

- Reduce; mAs; one-half

- Primary

- Inherent filtration

- No visible effect

- Poor calibration of the kVp (such that the actual kVp is less than the set 	kVp).

- Reduce the intensity of the primary x-ray beam to one-half the original

- Maximum; remnant beam; image receptor

- Cross-table (groin) lateral hip, or Swimmers

# Chapter 18

- 1) Improve subject contrast in the remnant beam signal, 2) reduce patient 	dose

- It has no effect on it

- To absorb off-focus radiation

- In the x-ray tube, but outside the focal spot

- “Positive-beam limitation”

- Collimate the field size smaller than the image receptor plate size

- 100% or double

- 35 cm

- 90 cm

- 24 cm

- 6 cm

- 60 cm

- 25 cm

# Chapter 19

- Its thinness is sickly, due to degeneration or disease, (so it is more extreme)

- By forgetting to lift the calipers up off the table, snug against the patient’s back

- 69%

- 97%

- 92%

- Approximately 12.5 mAs

- 50 mAs

- 1) Metals, 2) bone, 3) soft tissues, 4) fat, 5) gasses

- The head

- Central ray

- Taut (tight, or hardened)

- (Physical) density

- 8% (7.5%)

- Reduce kVp 20% with no change in mAs

- Four times

- Darker

- 50%

# Chapter 20

- The collimator (collimation)

- 1) The scatter that is produced has higher energy so it is more likely to 	penetrate

- through to the image receptor, and 2) a higher percentage of the

- scatter produced is directed toward the image receptor.

- Two of the following: 1) High kVp assures adequate penetration, 2) High 	kVp

provides desirable long gray scale, and 3) High kVp allows for lower mAs

settings which saves patient dose.

- Nothing, (penumbra is not related to scatter radiation)

- Short

- Grid radius

- Subject contrast

- 4:1

- To blur out grid lines

- Reciprocal (linear) and oscillating (circular)

- 1) Off-centering or 2) off-angling between the grid and the central ray

- 3 X

- Symmetrical grid cut-off (on both sides)

- Selectivity

- They indirectly increase patient exposure (since higher techniques are 	required)

- Grid ratio

- 10:1

- Use with dedicated chest units

- 1) Lower grid ratios can be used when grids are necessary

2) A non-grid approach can be used on larger anatomy, up to 13 cm in thickness

# Chapter 21

- 15-17 degrees

- Because this would damage the anode by concentrating the heat load

- Cathode

- Because the anode material itself acts as a filter for x-rays

- Left

- Right

- Increases

- The focal spot affects only image sharpness, it does not affect any other 	image

- qualities

- It is locked out from these high mA stations to prevent overloading the anode with

concentrated heat

- Beveled anode surface

- When the focal spot is substantially larger than an image detail, the 	penumbra can

spread so much inward that the umbra portion of the image is completely

lost.

- Sharpness will increase to precisely double the original

- At the center of the penumbra

- Partial

# Chapter 22

- Increases

- 1) Patient dose is slightly reduced, 2) Spatial resolution (sharpness) is improved,

3) Magnification of anatomy is reduced, 4) More anatomy can be included 		within the field of view

- It must have been cut to ½ the original

- 0.2 seconds

- 15%

- 1/3 (0.31)

- SOD (source-to-object distance)

- Maximum

- One step

- 19.4 mGy

- 11.4 mA (approximately 10 mA)

- 5.06 mAs (approximately 5 mAs)

# Chapter 23

- Minimum

- Greater

- Less

- Secondary or scatter; primary

- SID/SOD

- SOD/OID

- 2

- 150 cm

- 50% (the same)

- Decrease

- Increase

- 30 cm

- 30 cm

- 27.5cm

- 64 cm

# Chapter 24

- Because it places objects into diverging beams which are at an angle to the

CR

- To minimize shape distortion (and to desuperimpose the symphysis pubis)

- The head of the femur

- Elongation

- Decreased

- 90 cm

- 1) Shape and size of the object, 2) centering of the object relative to the x-ray

beam, 3) angle formed between the object and the x-ray beam, 4) angle

formed between the object and the image receptor plate

- Because of the cranium’s much greater thickness

- 7 degrees (cephalic)

- Normal divergence of the x-ray beam lines up with the intervertebral joint spaces

when there is slight sag in the spine

- 1) Desuperimpose obstructing anatomy, 2) minimize magnification, 3) 	minimize

- distortion, 4) maximize sharpness

- To fully demonstrate alignment of bones

- Noise

- Increased (spread)

- If it is not locked in place

- Contrast

- False

- 1) Minimal exposure time, 2) securing patient cooperation, 3) use of 	mechanical

- restraining devices

- 0.033 (1/30) second

# Chapter 25

- a. mAs

b. kVp

c. Focal spot

d. SID/SOD ratio

e. Alignment

- Geometrical penumbra and absorption penumbra

- Contrast and sharpness

- Line pairs per millimeter

- 2.5 LP/mm

- Contrast

- Penumbra

- 0.2 mm

# Chapter 26

- 1) Positioning projection routines, 2) Exposure technique factors, 3) 	Processing

- 2; one

- A 15% increase in kVp

- The maximum mA station available at the needed focal spot size

- Less

- 3-4 X

- 50% increase (1½ X)

- 2 X

- 2 X

- ½

- Equal (no change)

- 78 kVp

- 108 kVp

- A = 3/4 average; B = 1¼ to 1½ X average (for up to 50% larger), C = 1½ to 2 X

average

# Chapter 27

- Poor flexibility

- Remnant beam exposure rate

- The AEC will compensate by staying on longer at the reduced exposure 	rate

- caused by the long SID

- The AEC’s minimum response time may be longer than the needed exposure time

- 2 X

- 1) kVp, 2) mA station, 3) focal spot, 4) detector cell configuration

- Too long (1.2 seconds)

- Because it only increases exposure time by 25%, falling short of the 35%

- minimum change rule.

- (N – A / N) X 100

- Exposure will run too long

- Excessive

- Thickest

- Tissue

- Penetration

- Unpredictable

- 1) To protect the patient from overexposure, 2) to protect the x-ray tube 	from

- excessive heat load

- Penetration

- It serves as an indication of the exposure to the patient

# Chapter 28

- Directly

- 5 LP/mm (line pairs per millimeter)

- Collimation of the x-ray beam

- Circular

- Sampling

- To reduce image processing time

- Post-processing

- Lower (lesser)

- Squared tubes

- Voltage

- Computer

- Gray scale (dynamic range) and brightness (gray level)

- By 1) selecting a different procedural processing algorithm, 2) windowing, 		and 3) applying special processing features

- Darker

- Width

- File size = Matrix size x Bit depth

- A display station

- Lighting

- Analog

- Chapter 29

- Because the use of hardware detector elements (dexels) in DR introduces 	several

- electronic faults not present in CR image acquisition

- Electronic response and gain offsets

- Interpolation

- Segmentation; partitioned pattern recognition

- Outside

- Brightness (density); lighter to darker.

- Region of interest (ROI) or volume of interest (VOI)

- Contrast

- Shape

- Type 3 histogram analysis

- Rescaling

- Brightness (gray level)

- Yes

- The location of each initial pixel value in the spatial matrix is recorded and stored

before the histogram is created or analyzed.

- Chapter 30

      - 1) The spatial domain, 2) the intensity domain, 3) the frequency domain

      - 1) Point processing, 2) area processing, 3) global processing

      - 1) Gradation (gradient) processing, 2) frequency detail processing, 3) preparation

for display, 4) operator adjustments, 5) special processing operations

      - Transformations

      - Function

      - Table

      - No

      - The intensity domain

      - Data clipping

      - Equalization (or dynamic range compression)

      - Sums

      - Edge enhancement

      - Fourier analysis

      - Size

- Fine (small)

- Spatial filtering

- CNR = T1–T2 / N

- Photoelectric

- Changing the kVp or changing filtration in the x-ray beam

- Low-; Single

- Inverse Fourier transformation

- Chapter 31

- Exposure indicator read-out

- ½

- Below -3.0

- One-half; two times

- +2.0

- Any three of the following: 1) excessive scatter radiation, 2) extreme over- 	or under-exposure, 3) unexpected materials within the x-ray field, 4) histogram

errors, 5) delays in processing

- Copy

- Rescaling

- Darker

- Local (detail, or edge)

- Edge enhancement

- Equalization (or dynamic range compression)

- Contrast

- Pitch black; Blank white

- Low (poor)

- Window width (windowing)

- Volume of interest (VOI)

- Chapter 32

- 1. To ensure that an adequate amount of signal reaches the image receptor.

- 2. Shape distortion

- 3. Yes; Because when the x-rays have insufficient energy to penetrate through the patient,

- inadequate signal will reach the image receptor regardless of the original quantity emitted

- 4. Yes; Because it will reduce patient exposure

- 5. No

- 6. Yes

- 7. Quantum mottle

- 8. No

- 9. Saturation

- 10. Yes

- 11. No

- 12. 1) Selection of the 200 speed class for processing, 2) resistance to the use 	of

- higher kVp, 3) fear of mottle appearing in the image, and 4) ability of CR

- and DR to correct for over-exposure.

- 1) Patient dose can be reduced; 2) Greater flexibility in positioning is allowed

- 13 (cm)

- 50-70%

- 1) Noise reduction algorithms; 2) Contrast enhancement algorithms

- To prevent segmentation failure, in which data from the different projections are

combined together during processing

- None

- At least 1/3 or 30% of the plate

- No

- Aliasing (Moire)

- Using lead strips between the projected fields

- 75%

- Scatter radiation and background radiation

Chapter 33

- a. CR

- b. DR

- c. DR

- d. CR

- 2. Active matrix array

- 3. 100 microns (1/10th mm)

- 4. Technique must be increased

- 5. Gate

- 6. Spread (diverge)

- 7. Phosphorescence

- 8. By the wavelength or color of the light, and by positioning the photomultiplier tube

- of the CR reader at a different angle than the angle of reflection for the laser beam

- 9. Yes; Because most CR plates are coated with a phosphor layer only on one side,

- which must face the laser beam and PM tube in the reader when being processed.

- 10. Twice; First, when it is exposed to x-rays, and second, when it is stimulated by

- the laser beam in the CR processor.

- 11. “F” (Farbzentren)

- 12. 75%

- 13. Slow-scan or subscan

- 14. Increased sharpness

- 15. 6.25 LP/mm

- 16. Dynodes

- 17. Approximately 10 times

- 18. The CR phosphor plate

- 19. Aliasing (or Moire pattern) artifact

- 20. 1) Phosphor elements with high atomic numbers, 2) the k-edge effect, 3) phosphor

- layer thickness.

- 21. For indirect DR systems, a much higher percentage of light photons from the

- phosphor layer can be absorbed by the active matrix array than the percentage of

- x-ray photons absorbed in a direct DR system.

- 22. Nyquist frequency

- 23. Phosphor plate

- 24. Detective quantum efficiency

- 25.	Fixed matrix and fixed sampling

- 26.	Reduced (less) spatial resolution

- 27.	Because the inherent resolution of the monitor is determined only by the physical size of the hardware pixels in the screen, which are not subject to change.

- Chapter 34

- The display monitor

- Viewing angle dependence (loss of brightness off-perpendicular)

- The term nematic means that the silicon crystals tend to have a thread-like shape

with their long axes aligned to each other

- “On”; does

- Pixel

- Pixel pitch (dot pitch)

- 20 minutes

- Display monitor

- Three

- 3 times

- Luminance

- Lumen

- 0.1 mm (100 microns)

- Angle dependence

- Chapter 35

      - Medical Image Management and Processing System

      - User

      - Control computer or server

      - Jukebox

      - DICOM (Digital Imaging and Communications in Medicine)

      - HL7 (health level 7)

      - Metadata

      - Lossy compression has a compression ratio greater than 10:1

      - 4 to 5 megabytes

      - On-line; archival

      - Install; software

      - Resolution

      - To prevent accidental loss of images or data

14. Informatics

15. The Electronic Health Record (HER) is more comprehensive, designed to be shared

among all healthcare providers throughout a patient’s lifetime, whereas the

Electronic Medical Record (EMR) is limited to use by a single practice or

healthcare provider.

16. Privacy, authentication, and integrity

17. Transmission Control Protocol and Internet Protocol

18. Bandwidth; Bits per second

19. Network

20. Vendor-neutral archives (VANs)

Chapter 36

- Any six of the following: 1) Written radiation protection policies, 2) 	personnel

- radiation monitoring, 3) provision of technique charts, 4) surveys of

- personnel, 5) equipment calibration and monitoring, 6) repeat analysis, 7)

- continuing education.

- No

- 26%; No

- Warping or other damage to the anode disc

- Filtration must be added

- A mirror inside the collimator

- Diagnosis

- Steradian

- Illuminance

- ¼

- 5% and 95%

- “Just noticeable differences”

- In the center and in each of the four corners

- Black

- 15

- 3-5%

Chapter 37

- 1.	Approximately 72 kVp

- 2. 	Yes

- 3. 	7 ½ degrees caudal

- 4.	Perpendicular to the anatomy

- 1) Input phosphor and photocathode, 2) electrostatic focusing lens, 3) 	accelerating

anode, 4) output phosphor.

- Reduced resolution

- Electrostatic focusing lenses

- a) Increased resolution; b) Increased patient dose

- 150

- Candela per square meter (Cd/m2)

- Fifth

- 10%

- Variable kVp with selected mA

- mA

- Scintillation

- Veiling glare

- The periphery

- Over (above)

- Temporal averaging

- Hundreds

- A light-emitting diode (LED)

- Binning

- TFTs (thin-film transistors)

- “Holes” (electron vacancies)

- Economics

- Chapter 38

- Standard

- Over-; under

- The barium enema series

- 700 rad (roentgen)

- Radon gas

- 75%

- Alpha particle radiation; Because of its extremely low penetration, the 	energy

- deposited by alpha particles is highly concentrated within tissue, causing

- high levels of damage.

- 12.5%

- 18.75 mCi

- 36 hours

- Its specific identity as an isotope, (it’s atomic mass)

- Medical practice

- Chapter 39

- Air Kerma

- Gray

- Kinetic Energy Released per Mass

- One Gray

- Integral

- Weighting

- Becquerel

- 31,500 mGy-cm2

- 1 mSv

- CLDEL = 270 mSv; Sum of PDELs = 300 mSv

- 0.5 mSv per month

- 0.5 Sv

- Lens of the eye

- Genetically significant does (GSD

- Sensitivity, resolving time, and range

- Sensitivity

- Resolving time

- Scintillation detector

- Annealing

- The Optically Stimulated Luminescence (OSL) Detector

- The greatest advantage is immediate read-out. The greatest disadvantage is

- poor accuracy.

- One

- Recombination

- Saturation

- A control detector

- Chapter 40

- Very high

- Somatic

- Anabolism

- TA, AT, CG, and GC

- During the synthesis (S) phase

- 8 to 10 hours

- Because the chromosomes tighten and condense into a denser structure

- Mitosis

- 23

- Anaphase

- Eye lens cells, and Oocytes (egg cells)

- Non-threshold

- Inflection point

- Multi-target, single-hit

- Covalent

- The hydroxyl radical

- Genetic mutations

- Double-strand breaks

- Translocations

- 0.025 kV/mm (25 V/mm)

- The RBE for the beta particles is 1.31

- Fractionation allows for recovery periods between discrete deliveries of the dose   – 	 Protraction does not allow recovery periods, but is a continuous delivery of the

dose.

- Because direct hits do not depend on intermediate molecular chemical changes;

Rather, the radiation directly ionizes the target molecule whether oxygen is

present or not.

- Chapter 41

- Lack of validity in extrapolating results to apply to other species or natural,

non-experimental environments.

- Severity

- Non-linear, threshold

- 25 rem

- 5 rem

- 75% of the exposed population will die within 60 days

- Data from Chernobyl increased the estimated human LD50/30

- Nausea – Vomiting – Diarrhea

- Starvation and dehydration

- 1) Prodrome, 2) latent period, 3) manifest illness, 4) recovery or death

- 2 to 8 weeks

- Skin-erythema dose

- Cataracts and radiodermatitis (skin cancer)

- Spontaneous abortion (spontaneous re-absorption)

- 1/3 or 30%

- About 10 times

- Mutagenic

- Skin

- 4-7 years

- 40

- 0.3 rad (0.1 – 0.3 rad)

- Chapter 42

- Intermittent fluoroscopy

- 1/1000th (0.01%)

- Shadow shields

- Within 10 days after the onset of mensus

- 30 cm (12 inches)

- 100 mGy/minute (or 21 mGy/mA-minute)

- Pulsed fluoroscopy mode

- Any physician

- 1) Percutaneous transhepatic cholangiography (PTCA)

- 2) Radio frequency ablation (RFAB)

- 3) Stent placements (STEN)

- 10.  The thyroid gland and the lens of the eye

- 11.  “M” or “N”

- 12. 1) Wearing a lead apron, 2) standing behind the radiologist so 2 lead aprons 	are

- effectively used, and 3) stepping back to 2 meters from the x-ray table and

- patient.

- 13. 2 meters (6 ft)

- 14. 0.5 mm

- 15. An adult relative or friend of the patient (who is a non-radiation worker)

- 16. High-dose radiographic procedures only

- 17. 2 meters (6 ft)

- 18. 1 mGy per hour

- 19. 0.8 mm (1/32 inch)

- 20. 4 times

- 21. 1) Maximum workload for the room

- 2) Use factor for the room

- 3) Occupancy factor for the room

- 4) Average distance from the radiation unit to walls

- 5) Maximum operating kVp for the unit

- 22. 20 microgray (per week)

- 23. “Caution – High Radiation Area”

- 24. The National Academy of Sciences (NAS)